## MAIN L.T. PANEL_8,5,26
MAIN L.T. PANEL
SR. NO | DESCRIPTION | MAKE | QTY | UNIT | RATE | DISCOUNT % | UNIT PRICE | G.TOTAL
A | MAIN INCOMER-1
1 | 1600A 4P 50KA EDO ACB WITH O/C,E/F PROTECTION | SCHNEIDER | 1 | NOS | 623660 | 68% | 199571.2 | 199571.2
2 | LED INDICATION LAMP R,Y,B, 230V AC SUPPLY | ESBEE | 1 | NOS | 210 | 0% | 210 | 210
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656
5 | C.T.1600/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 1200 | 0% | 1200 | 3600
6 | DIGITAL MFM CL.-1 WITH RS485 PORT (4405 SERIES) | L&T | 1 | NOS | 7665 | 35% | 4982.25 | 4982.25
8 | 6A DP MCB FOR SPACE HEATER | SCHNEIDER | 1 | NOS | 500 | 60% | 200 | 200
9 | SPACE HEATER | REPUTED | 2 | NOS | 2400 | 0% | 2400 | 4800
10 | SERVICE LAMP | REPUTED | 2 | NOS | 100 | 0% | 100 | 200
11 | DOOR LIMITS SWITCH | REPUTED | 2 | NOS | 750 | 0% | 750 | 1500
12 | START/STOP PUSH BUTTON | ESBEE | 1 | NOS | 150 | 0% | 150 | 150
13 | ON,OFF INDICATION LAMPS | ESBEE | 1 | NOS | 180 | 0% | 180 | 180
14 | TNC SWITCH WITH 2NO+2NC | SCHNEIDER | 1 | NOS | 1800 | 0% | 1800 | 1800
15 | AUTO/MANUAL SWITCH, 6A, 2P | SCHNEIDER | 1 | NOS | 557 | 0% | 557 | 557
17 | BUZZER OR BELL | STANDARD | 1 | NOS | 800 | 0% | 800 | 800
18 | 1PHASE DIRECTIONAL REALY | SCHNEIDER | 1 | NOS | 2600 | 50% | 1300 | 1300 | CHATGPT
B | DG INCOMER-2 FOR DG PANEL
1 | 1000A 4P 50KA EDO ACB WITH O/C,E/F PROTECTION | SCHNEIDER | 1 | NOS | 523740 | 64% | 188546.4 | 188546.4
2 | LED INDICATION LAMP R,Y,B | ESBEE | 1 | SET | 210 | 0% | 210 | 210
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656
5 | C.T.1000/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 900 | 0% | 900 | 2700
6 | DIGITAL MFM CL.-1 WITH RS485 PORT (4405 SERIES) | L&T | 1 | NOS | 7665 | 35% | 4982.25 | 4982.25
8 | 6A DP MCB FOR SPACE HEATER | SCHNEIDER | 1 | NOS | 500 | 60% | 200 | 200
9 | SPACE HEATER | REPUTED | 2 | NOS | 2400 | 0% | 2400 | 4800
10 | SERVICE LAMP | REPUTED | 2 | NOS | 100 | 0% | 100 | 200
11 | DOOR LIMITS SWITCH | REPUTED | 2 | NOS | 750 | 0% | 750 | 1500 |  | 2 MFM CL.-1 RS485 PORT | 12450 | 9964
12 | Start/Stop Push button | ESBEE | 1 | NOS | 150 | 0% | 150 | 150 |  | 12 MFM CL.-1 | 70800 | 52956
13 | ON Off Indication Lamp | ESBEE | 1 | NOS | 180 | 0% | 180 | 180 |  |  | 83250 | 62920
14 | TNC SWITCH WITH 2NO+2NC | SCHNEIDER | 1 | NOS | 1800 | 0% | 1800 | 1800 |  |  | 19000 | 19000
15 | AUTO/MANUAL SWITCH, 6A, 2P | SCHNEIDER | 1 | NOS | 557 | 0% | 557 | 557 |  |  | 102250
17 | BUZZER OR BELL | STANDARD | 1 | NOS | 800 | 0% | 800 | 800
18 | 1PHASE DIRECTIONAL REALY | SCHNEIDER | 1 | NOS | 2600 | 50% | 1300 | 1300 | CHATGPT
OUT GOING FEEDER
1 | 650A 4P 36 KA MCCB FOR APFC FEEDER | SCHNEIDER | 1 | NOS | 76510 | 60% | 30604 | 30604
2 | C.T.650/5A,10KA,CL-1 | NIPPON/SG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656
4 | LED INDICATION LAMP R,Y,B | ESBEE | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE CVS400/630 | SCHNEIDER | 1 | NOS | 4680 | 53% | 2199.6 | 2199.6
6 | 1 SET OF SPREADER 4P 70MM NS400/630 | SCHNEIDER | 2 | NOS | 3290 | 53% | 1546.3 | 3092.6
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 315A 4P 36 KA MCCB | SCHNEIDER | 1 | NOS | 57610 | 60% | 23044 | 23044
2 | C.T.315/5A,10KA,CL-1 | NIPPON/SG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656
4 | LED INDICATION LAMP R,Y,B | ESBEE | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE CVS400/630 | SCHNEIDER | 1 | NOS | 4680 | 53% | 2199.6 | 2199.6
6 | 1 SET OF SPREADER 4P 70MM NS400/630 | SCHNEIDER | 2 | NOS | 3290 | 53% | 1546.3 | 3092.6
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 650A 4P 36 KA MCCB | SCHNEIDER | 1 | NOS | 76510 | 60% | 30604 | 30604
2 | C.T.650/5A,10KA,CL-1 | NIPPON/SG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656
4 | LED INDICATION LAMP R,Y,B | ESBEE | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE CVS400/630 | SCHNEIDER | 1 | NOS | 4680 | 53% | 2199.6 | 2199.6
6 | 1 SET OF SPREADER 4P 70MM NS400/630 | SCHNEIDER | 2 | NOS | 3290 | 53% | 1546.3 | 3092.6
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 250A 4P 36 KA MCCB | SCHNEIDER | 1 | NOS | 38460 | 60% | 15384 | 15384
2 | C.T.250/5A,10KA,CL-1 | NIPPON/SG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 900
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656
4 | LED INDICATION LAMP R,Y,B | ESBEE | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE CVS100/160/250 | SCHNEIDER | 1 | NOS | 2630 | 53% | 1236.1 | 1236.1
6 | 4P SPREADER PH BARRIERS | SCHNEIDER | 2 | NOS | 1300 | 53% | 611 | 1222
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 250A 4P 36 KA MCCB | SCHNEIDER | 1 | NOS | 38460 | 60% | 15384 | 15384
2 | C.T.250/5A,10KA,CL-1 | NIPPON/SG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 900
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656
4 | LED INDICATION LAMP R,Y,B | ESBEE | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE CVS100/160/250 (LV429338_IN) | SCHNEIDER | 1 | NOS | 2630 | 53% | 1236.1 | 1236.1
6 | 4P SPREADER PH BARRIERS( LV431564) | SCHNEIDER | 2 | NOS | 1300 | 53% | 611 | 1222
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 450A 4P 36 KA MCCB | SCHNEIDER | 1 | NOS | 67050 | 60% | 26820 | 26820
2 | C.T.450/5A,10KA,CL-1 | NIPPON/SG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656
4 | LED INDICATION LAMP R,Y,B | ESBEE | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE CVS400/630 | SCHNEIDER | 1 | NOS | 4680 | 53% | 2199.6 | 2199.6
6 | 1 SET OF SPREADER 4P 70MM NS400/630 | SCHNEIDER | 2 | NOS | 3290 | 53% | 1546.3 | 3092.6
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 450A 4P 36 KA MCCB | SCHNEIDER | 1 | NOS | 67050 | 60% | 26820 | 26820
2 | C.T.450/5A,10KA,CL-1 | NIPPON/SG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656
4 | LED INDICATION LAMP R,Y,B | ESBEE | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE CVS400/630 | SCHNEIDER | 1 | NOS | 4680 | 53% | 2199.6 | 2199.6
6 | 1 SET OF SPREADER 4P 70MM NS400/630 | SCHNEIDER | 2 | NOS | 3290 | 53% | 1546.3 | 3092.6
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 400A 4P 36 KA MCCB | SCHNEIDER | 1 | NOS | 58120 | 60% | 23248 | 23248
2 | C.T.400/5A,10KA,CL-1 | NIPPON/SG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656
4 | LED INDICATION LAMP R,Y,B | ESBEE | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE CVS400/630 | SCHNEIDER | 1 | NOS | 4680 | 53% | 2199.6 | 2199.6
6 | 1 SET OF SPREADER 4P 70MM NS400/630 | SCHNEIDER | 2 | NOS | 3290 | 53% | 1546.3 | 3092.6
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 500A 4P 36 KA MCCB | SCHNEIDER | 1 | NOS | 67050 | 60% | 26820 | 26820
2 | C.T.500/5A,10KA,CL-1 | NIPPON/SG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656
4 | LED INDICATION LAMP R,Y,B | ESBEE | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE CVS400/630 | SCHNEIDER | 1 | NOS | 4680 | 53% | 2199.6 | 2199.6
6 | 1 SET OF SPREADER 4P 70MM NS400/630 | SCHNEIDER | 2 | NOS | 3290 | 53% | 1546.3 | 3092.6
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 630A 4P 36 KA MCCB | SCHNEIDER | 1 | NOS | 76510 | 60% | 30604 | 30604
2 | C.T.630/5A,10KA,CL-1 | NIPPON/SG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656
4 | LED INDICATION LAMP R,Y,B | ESBEE | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE CVS400/630 | SCHNEIDER | 1 | NOS | 4680 | 53% | 2199.6 | 2199.6
6 | 1 SET OF SPREADER 4P 70MM NS400/630 | SCHNEIDER | 2 | NOS | 3290 | 53% | 1546.3 | 3092.6
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 315A 4P 36 KA MCCB | SCHNEIDER | 1 | NOS | 57610 | 60% | 23044 | 23044
2 | C.T.315/5A,10KA,CL-1 | NIPPON/SG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656
4 | LED INDICATION LAMP R,Y,B | ESBEE | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE CVS400/630 | SCHNEIDER | 1 | NOS | 4680 | 53% | 2199.6 | 2199.6
6 | 1 SET OF SPREADER 4P 70MM NS400/630 | SCHNEIDER | 2 | NOS | 3290 | 53% | 1546.3 | 3092.6
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 160A 4P 36 KA MCCB | SCHNEIDER | 1 | NOS | 24320 | 60% | 9728 | 9728
2 | C.T.160/5A,10KA,CL-1 | NIPPON/SG | 3 | NOS | 300 | 0% | 300 | 900 |  | 900
3 | CONTROL 6A SP MCB | SCHNEIDER | 4 | NOS | 410 | 60% | 164 | 656 |  | 18900
4 | LED INDICATION LAMP R,Y,B | ESBEE | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE CVS100/160/250 (LV429338_IN) | SCHNEIDER | 1 | NOS | 2630 | 53% | 1236.1 | 1236.1
6 | 4P SPREADER PH BARRIERS( LV431564) | SCHNEIDER | 2 | NOS | 1300 | 53% | 611 | 1222
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | SPARE VACANT SPACE FOR 400 AMP, 4P,,MCCB VACCANT ONLY | SCHNEIDER | 4 | NOS | 0 | 60% | 0 | 0
1 | COPPER BUSBARS | NALCO |  |  | 0 | 0% | 0 | 450000
2 | MISC. |  | 1 |  | 0 | 0% | 0 | 15000
3 | LUG,WIRE, HARDWERE | POLYCAB | 1 |  | 0 | 0% | 0 | 25000
4 | FABRICATION | CRCA SHEET | 1 |  | 0 | 0% | 0 | 140000
5 | LABOUR |  | 1 |  | 0 | 0% | 0 | 50000
0
[7 empty] | NET RATE | 1530250.2
[7 empty] | ADD 15% | 229537.53
1759787.73
Notes
Transportation Extra
Loading - Included
Unloading - Not in our scope
All Panel- CPRI Aprroved

## MAIN L.T. PANEL_L&T
MAIN L.T. PANEL
SR. NO | DESCRIPTION | MAKE | QTY | UNIT | RATE | DISCOUNT % | UNIT PRICE | G.TOTAL
A | MAIN INCOMER-1
1 | 1600A 4P 50KA EDO ACB WITH O/C,E/F PROTECTION | L&T | 1 | NOS | 467400 | 71% | 135546 | 135546
2 | LED INDICATION LAMP R,Y,B, 230V AC SUPPLY | ESBEE/TECKNIC | 1 | NOS | 210 | 0% | 210 | 210
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4
5 | C.T.1600/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 1200 | 0% | 1200 | 3600
6 | DIGITAL MFM CL.-1 WITH RS485 PORT (4405 SERIES) | L&T | 1 | NOS | 7665 | 35% | 4982.25 | 4982.25
7 | O/V,U/V ELECTROMAGNETIC RELAY VAG21 | ALSTOM | 1 | NOS | 8400 | 50% | 4200 | 4200
8 | 6A DP MCB FOR SPACE HEATER | L&T | 1 | NOS | 1080 | 55% | 486 | 486
9 | SPACE HEATER | REPUTED | 2 | NOS | 2400 | 0% | 2400 | 4800
10 | SERVICE LAMP | REPUTED | 2 | NOS | 100 | 0% | 100 | 200
11 | DOOR LIMITS SWITCH | REPUTED | 2 | NOS | 750 | 0% | 750 | 1500
12 | START/STOP PUSH BUTTON | ESBEE/TECKNIC | 1 | NOS | 150 | 0% | 150 | 150
13 | EM STOP PUSH BUTTON | TECKNIC | 1 | NOS | 100 | 0% | 100 | 100
14 | ON,OFF INDICATION LAMPS | ESBEE/TECKNIC | 1 | NOS | 180 | 0% | 180 | 180
15 | TNC SWITCH WITH 2NO+2NC | L&T | 1 | NOS | 1800 | 0% | 1800 | 1800
16 | AUTO/MANUAL SWITCH, 6A, 2P | L&T | 1 | NOS | 315 | 35% | 204.75 | 204.75
17 | MINILEC 6WINDOW ANNUNCIATOR | MINILEC/GIC | 1 | NOS | 4500 | 0% | 4500 | 4500
18 | BUZZER OR BELL | STANDARD | 1 | NOS | 800 | 0% | 800 | 800
19 | 1PHASE DIRECTIONAL RELAY | L&T | 1 | NOS | 2600 | 0% | 2600 | 2600 | CHATGPT
B | DG INCOMER-2 FOR DG PANEL
1 | 1000A 4P 50KA EDO ACB WITH O/C,E/F PROTECTION | L&T | 1 | NOS | 393100 | 71% | 113999 | 113999
2 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4
5 | C.T.1000/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 900 | 0% | 900 | 2700
6 | DIGITAL MFM CL.-1 WITH RS485 PORT (4405 SERIES) | L&T | 1 | NOS | 7665 | 35% | 4982.25 | 4982.25
7 | O/V,U/V ELECTROMAGNETIC RELAY VAG21 | ALSTOM | 1 | NOS | 8400 | 50% | 4200 | 4200
8 | 6A DP MCB FOR SPACE HEATER | L&T | 1 | NOS | 1080 | 55% | 486 | 486
9 | SPACE HEATER | REPUTED | 2 | NOS | 2400 | 0% | 2400 | 4800
10 | SERVICE LAMP | REPUTED | 2 | NOS | 100 | 0% | 100 | 200
11 | DOOR LIMITS SWITCH | REPUTED | 2 | NOS | 750 | 0% | 750 | 1500 |  | 2 MFM CL.-1 RS485 PORT | 12450 | 9964
12 | START/STOP PUSH BUTTON | ESBEE/TECKNIC | 1 | NOS | 150 | 0% | 150 | 150 |  | 12 MFM CL.-1 | 70800 | 52956
13 | ON,OFF INDICATION LAMPS | ESBEE/TECKNIC | 1 | NOS | 180 | 0% | 180 | 180 |  |  | 83250 | 62920
14 | TNC SWITCH WITH 2NO+2NC | L&T | 1 | NOS | 1800 | 0% | 1800 | 1800 |  |  | 19000 | 19000
15 | AUTO/MANUAL SWITCH, 6A, 2P | L&T | 1 | NOS | 315 | 35% | 204.75 | 204.75 |  |  | 102250
16 | MINILEC 6WINDOW ANNUNCIATOR | MINILEC | 1 | NOS | 4500 | 0% | 4500 | 4500
17 | BUZZER OR BELL | STANDARD | 1 | NOS | 800 | 0% | 800 | 800
18 | 1PHASE DIRECTIONAL RELAY | L&T | 1 | NOS | 2600 | 0% | 2600 | 2600 | CHATGPT
OUT GOING FEEDER
1 | 630A 4P 36 KA MCCB FOR APFC FEEDER | L&T | 1 | NOS | 73300 | 55% | 32985 | 32985
2 | C.T.650/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 630A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4P FOR 630A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 315A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 55% | 23265 | 23265
2 | C.T.315/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 4P 315A MCCB | L&T | 1 | NOS | 4680 | 53% | 2199.6 | 2199.6
6 | 1 SET OF SPREADER 4P FOR 4P 315A MCCB | L&T | 1 | NOS | 6310 | 53% | 2965.7 | 2965.7
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 630A 4P 36 KA MCCB | L&T | 1 | NOS | 73300 | 55% | 32985 | 32985
2 | C.T.650/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 630A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4P FOR 630A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 250A 4P 36 KA MCCB | L&T | 1 | NOS | 40900 | 55% | 18405 | 18405
2 | C.T.250/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 900
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR FP 250A MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 4P SPREADER PH BARRIERS FOR FP 250A MCCB | L&T | 1 | NOS | 6310 | 55% | 2839.5 | 2839.5
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 250A 4P 36 KA MCCB | L&T | 1 | NOS | 40900 | 55% | 18405 | 18405
2 | C.T.250/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 900
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR FP 250A MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 4P SPREADER PH BARRIERS FOR FP 250A MCCB | L&T | 1 | NOS | 6310 | 55% | 2839.5 | 2839.5
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 400A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 55% | 23265 | 23265
2 | C.T.450/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 400A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4P FOR 400A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 450A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 55% | 23265 | 23265
2 | C.T.450/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 450A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4PFOR 450A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 400A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 55% | 23265 | 23265
2 | C.T.400/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 400A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4P FOR 400A FP MCCB | L&T | 1 | NOS | 6410 | 55% | 2884.5 | 2884.5
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 500A 4P 36 KA MCCB | L&T | 1 | NOS | 70500 | 55% | 31725 | 31725
2 | C.T.500/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 500A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4P FOR 500A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 630A 4P 36 KA MCCB | L&T | 1 | NOS | 73300 | 55% | 32985 | 32985
2 | C.T.630/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 630A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4P FOR 630A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 315A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 55% | 23265 | 23265
2 | C.T.315/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 315A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER FOR 315A FP MCCB | L&T | 1 | NOS | 6410 | 55% | 2884.5 | 2884.5
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 160A 4P 36 KA MCCB | L&T | 1 | NOS | 37600 | 55% | 16920 | 16920
2 | C.T.160/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 300 | 0% | 300 | 900 |  | 900
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 55% | 143.1 | 572.4 |  | 18900
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 160A 4P MCCB | L&T | 1 | NOS | 2790 | 55% | 1255.5 | 1255.5
6 | 4P SPREADER PH BARRIERS FOR 160A 4P MCCB | L&T | 1 | NOS | 6310 | 55% | 2839.5 | 2839.5
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | SPARE VACANT SPACE FOR 400 AMP, 4P, MCCB VACCANT ONLY | L&T | 4 | NOS | 0 | 60% | 0 | 0
1 | COPPER BUSBARS | NALCO |  |  | 0 | 0% | 0 | 150000 |  | 150000
2 | MISC. |  | 1 |  | 0 | 0% | 0 | 4000
3 | LUG,WIRE, HARDWERE | POLYCAB | 1 |  | 0 | 0% | 0 | 25000
4 | FABRICATION | CRCA SHEET | 1 |  | 0 | 0% | 0 | 250000
5 | LABOUR & TRANSPORT |  | 1 |  | 0 | 0% | 0 | 239050
0
[7 empty] | NET RATE | 1448829.9
[7 empty] | ADD 10% | 72441.495
1521271.395

## MAIN L.T. PANEL_L&T-2
MAIN L.T. PANEL
SR. NO | DESCRIPTION | MAKE | QTY | UNIT | RATE | DISCOUNT % | UNIT PRICE | G.TOTAL
A | MAIN INCOMER-1
1 | 1600A 4P 50KA EDO ACB, Micro Base | L&T | 1 | NOS | 467400 | 65% | 163590 | 163590
2 | LED INDICATION LAMP R,Y,B, 230V AC SUPPLY | ESBEE/TECKNIC | 1 | NOS | 210 | 0% | 210 | 210
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8
4 | C.T.1600/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 1200 | 0% | 1200 | 3600
5 | DIGITAL MFM CL.-1 WITH RS485 PORT (4405 SERIES) | L&T | 1 | NOS | 7665 | 35% | 4982.25 | 4982.25
6 | 6A DP MCB FOR SPACE HEATER | L&T | 1 | NOS | 1080 | 60% | 432 | 432
7 | SPACE HEATER | REPUTED | 2 | NOS | 2400 | 0% | 2400 | 4800
8 | SERVICE LAMP | REPUTED | 2 | NOS | 100 | 0% | 100 | 200
9 | DOOR LIMITS SWITCH | REPUTED | 2 | NOS | 750 | 0% | 750 | 1500
10 | START/STOP PUSH BUTTON | ESBEE | 1 | NOS | 150 | 0% | 150 | 150
11 | EM STOP PUSH BUTTON | TECHNIK | 1 | NOS | 100 | 0% | 100 | 100
12 | ON,OFF INDICATION LAMPS | ESBEE/TECKNIC | 1 | NOS | 180 | 0% | 180 | 180
13 | TNC SWITCH WITH 2NO+2NC | L&T | 1 | NOS | 1800 | 0% | 1800 | 1800
14 | AUTO/MANUAL SWITCH, 6A, 2P | L&T | 1 | NOS | 315 | 35% | 204.75 | 204.75
15 | BUZZER OR BELL | STANDARD | 1 | NOS | 800 | 0% | 800 | 800
16 | 1PHASE DIRECTIONAL RELAY | L&T | 1 | NOS | 2600 | 0% | 2600 | 2600 | CHATGPT
B | DG INCOMER-2 FOR DG PANEL
1 | 1000A 4P 50KA EDO ACB WITH Micro Base | L&T | 1 | NOS | 393100 | 65% | 137585 | 137585
2 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8
4 | C.T.1000/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 900 | 0% | 900 | 2700
5 | DIGITAL MFM CL.-1 WITH RS485 PORT (4405 SERIES) | L&T | 1 | NOS | 7665 | 35% | 4982.25 | 4982.25
6 | 6A DP MCB FOR SPACE HEATER | L&T | 1 | NOS | 1080 | 60% | 432 | 432
7 | SPACE HEATER | REPUTED | 2 | NOS | 2400 | 0% | 2400 | 4800
8 | SERVICE LAMP | REPUTED | 2 | NOS | 100 | 0% | 100 | 200
9 | DOOR LIMITS SWITCH | REPUTED | 2 | NOS | 750 | 0% | 750 | 1500 |  |  | 2 MFM CL.-1 RS485 PORT | 12450 | 9964
10 | START/STOP PUSH BUTTON | ESBEE/TECKNIC | 1 | NOS | 150 | 0% | 150 | 150 |  |  | 12 MFM CL.-1 | 70800 | 52956
11 | ON,OFF INDICATION LAMPS | ESBEE/TECKNIC | 1 | NOS | 180 | 0% | 180 | 180 |  |  |  | 83250 | 62920
12 | TNC SWITCH WITH 2NO+2NC | L&T | 1 | NOS | 1800 | 0% | 1800 | 1800 |  |  |  | 19000 | 19000
13 | AUTO/MANUAL SWITCH, 6A, 2P | L&T | 1 | NOS | 315 | 35% | 204.75 | 204.75 |  |  |  | 102250
15 | BUZZER OR BELL | STANDARD | 1 | NOS | 800 | 0% | 800 | 800
16 | 1PHASE DIRECTIONAL RELAY | L&T | 1 | NOS | 2600 | 0% | 2600 | 2600 | CHATGPT
OUT GOING FEEDER
1 | 630A 4P 36 KA MCCB FOR APFC FEEDER | L&T | 1 | NOS | 73300 | 62% | 27854 | 27854
2 | C.T.650/5A,10KA,CL-1 | AE/NIPPON | 3 | NOS | 600 | 0% | 600 | 1800 |  |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 630A FP MCCB | L&T | 1 | NOS | 4760 | 60% | 1904 | 1904
6 | 1 SET OF SPREADER 4P FOR 630A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS |  | 40% | 0 | 0
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 315A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 62% | 19646 | 19646
2 | C.T.315/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 4P 315A MCCB | L&T | 1 | NOS | 4680 | 60% | 1872 | 1872
6 | 1 SET OF SPREADER 4P FOR 4P 315A MCCB | L&T | 1 | NOS | 6310 | 53% | 2965.7 | 2965.7
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS |  | 40% | 0 | 0
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 630A 4P 36 KA MCCB | L&T | 1 | NOS | 73300 | 62% | 27854 | 27854
2 | C.T.650/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 630A FP MCCB | L&T | 1 | NOS | 4760 | 60% | 1904 | 1904
6 | 1 SET OF SPREADER 4P FOR 630A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS |  | 40% | 0 | 0
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 250A 4P 36 KA MCCB | L&T | 1 | NOS | 40900 | 62% | 15542 | 15542
2 | C.T.250/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  |  | 900
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR FP 250A MCCB | L&T | 1 | NOS | 4760 | 60% | 1904 | 1904
6 | 4P SPREADER PH BARRIERS FOR FP 250A MCCB | L&T | 1 | NOS | 6310 | 60% | 2524 | 2524
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS |  | 40% | 0 | 0
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 250A 4P 36 KA MCCB | L&T | 1 | NOS | 40900 | 62% | 15542 | 15542
2 | C.T.250/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  |  | 900
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR FP 250A MCCB | L&T | 1 | NOS | 4760 | 60% | 1904 | 1904
6 | 4P SPREADER PH BARRIERS FOR FP 250A MCCB | L&T | 1 | NOS | 6310 | 60% | 2524 | 2524
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS |  | 40% | 0 | 0
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 400A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 62% | 19646 | 19646
2 | C.T.450/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 400A FP MCCB | L&T | 1 | NOS | 4760 | 60% | 1904 | 1904
6 | 1 SET OF SPREADER 4P FOR 400A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS |  | 40% | 0 | 0
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 450A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 62% | 19646 | 19646
2 | C.T.450/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 450A FP MCCB | L&T | 1 | NOS | 4760 | 60% | 1904 | 1904
6 | 1 SET OF SPREADER 4PFOR 450A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS |  | 40% | 0 | 0
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 400A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 62% | 19646 | 19646
2 | C.T.400/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 400A FP MCCB | L&T | 1 | NOS | 4760 | 60% | 1904 | 1904
6 | 1 SET OF SPREADER 4P FOR 400A FP MCCB | L&T | 1 | NOS | 6410 | 55% | 2884.5 | 2884.5
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS |  | 40% | 0 | 0
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 500A 4P 36 KA MCCB | L&T | 1 | NOS | 70500 | 62% | 26790 | 26790
2 | C.T.500/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 500A FP MCCB | L&T | 1 | NOS | 4760 | 60% | 1904 | 1904
6 | 1 SET OF SPREADER 4P FOR 500A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS |  | 40% | 0 | 0
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 630A 4P 36 KA MCCB | L&T | 1 | NOS | 73300 | 62% | 27854 | 27854
2 | C.T.630/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 630A FP MCCB | L&T | 1 | NOS | 4760 | 60% | 1904 | 1904
6 | 1 SET OF SPREADER 4P FOR 630A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS |  | 40% | 0 | 0
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 315A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 62% | 19646 | 19646
2 | C.T.315/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 600 | 0% | 600 | 1800 |  |  | 1800
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 315A FP MCCB | L&T | 1 | NOS | 4760 | 60% | 1904 | 1904
6 | 1 SET OF SPREADER FOR 315A FP MCCB | L&T | 1 | NOS | 6410 | 55% | 2884.5 | 2884.5
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS |  | 40% | 0 | 0
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | 160A 4P 36 KA MCCB | L&T | 1 | NOS | 37600 | 62% | 14288 | 14288
2 | C.T.160/5A,10KA,CL-1 | AE/NRG | 3 | NOS | 300 | 0% | 300 | 900 |  |  | 900
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 60% | 127.2 | 508.8 |  |  | 18900
4 | LED INDICATION LAMP R,Y,B | ESBEE/TECKNIC | 1 | SET | 210 | 0% | 210 | 210
5 | EXTENDED ROTARY HANDLE FOR 160A 4P MCCB | L&T | 1 | NOS | 2790 | 60% | 1116 | 1116
6 | 4P SPREADER PH BARRIERS FOR 160A 4P MCCB | L&T | 1 | NOS | 6310 | 60% | 2524 | 2524
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS |  | 40% | 0 | 0
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 35% | 4413.5 | 4413.5
1 | SPARE VACANT SPACE FOR 400 AMP, 4P, MCCB VACCANT ONLY | L&T |  | NOS | 0 | 60% | 0 | 0
2 | 160A 4P 36 KA MCCB | L&T |  | NOS | 37600 | 62% | 14288 | 0
3 | EXTENDED ROTARY HANDLE FOR 160A 4P MCCB | L&T |  | NOS | 2790 | 60% | 1116 | 0
4 | 4P SPREADER PH BARRIERS FOR 160A 4P MCCB | L&T |  | NOS | 6310 | 60% | 2524 | 0 |  | = | 0
0
1 | COPPER BUSBARS | NALCO |  |  | 0 | 0% | 0 | 450000 |  |  | 150000
2 | MISC. |  | 1 |  | 0 | 0% | 0 | 15000
3 | LUG,WIRE, HARDWERE | POLYCAB | 1 |  | 0 | 0% | 0 | 25000 |  |  | 66000 | FAB
4 | FABRICATION | CRCA SHEET | 1 |  | 0 | 0% | 0 | 140000 |  |  | 42000 | MCCBS
5 | LABOUR |  | 1 |  | 0 | 0% | 0 | 50000 |  |  | 108000
0
[7 empty] | NET RATE | 1434796.9
[7 empty] | ADD 15% | 215219.535
1650016.435
Notes
Transportation Extra
Loading - Included
Unloading - Not in our scope
All Panel- CPRI Aprroved
Note on L151: Hp: UNIT PRICE

## L&T MATERIALS ONLY
MAIN L.T. PANEL
SR. NO | DESCRIPTION | MAKE | QTY | UNIT | RATE | DISCOUNT % | UNIT PRICE | G.TOTAL
A | MAIN INCOMER-1
1 | 1600A 4P 50KA EDO ACB WITH O/C,E/F PROTECTION | L&T | 1 | NOS | 467400 | 71% | 135546 | 135546
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
6 | DIGITAL MFM CL.-1 WITH RS485 PORT (4405 SERIES) | L&T | 1 | NOS | 7665 | 40% | 4599 | 4599
8 | 6A DP MCB FOR SPACE HEATER | L&T | 1 | NOS | 1080 | 68% | 345.6 | 345.6
15 | TNC SWITCH WITH 2NO+2NC | L&T | 1 | NOS | 1800 | 0% | 1800 | 1800
16 | AUTO/MANUAL SWITCH, 6A, 2P | L&T | 1 | NOS | 315 | 35% | 204.75 | 204.75
19 | 1PHASE DIRECTIONAL REALY | L&T | 1 | NOS | 2600 | 0% | 2600 | 2600
B | DG INCOMER-2 FOR DG PANEL
1 | 1000A 4P 50KA EDO ACB WITH O/C,E/F PROTECTION | L&T | 1 | NOS | 393100 | 71% | 113999 | 113999
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
6 | DIGITAL MFM CL.-1 WITH RS485 PORT (4405 SERIES) | L&T | 1 | NOS | 7665 | 35% | 4982.25 | 4982.25
8 | 6A DP MCB FOR SPACE HEATER | L&T | 1 | NOS | 1080 | 68% | 345.6 | 345.6
14 | TNC SWITCH WITH 2NO+2NC | L&T | 1 | NOS | 1800 | 0% | 1800 | 1800
15 | AUTO/MANUAL SWITCH, 6A, 2P | L&T | 1 | NOS | 315 | 35% | 204.75 | 204.75
18 | 1PHASE DIRECTIONAL REALY | L&T | 1 | NOS | 2600 | 0% | 2600 | 2600
OUT GOING FEEDER
1 | 630A 4P 36 KA MCCB FOR APFC FEEDER | L&T | 1 | NOS | 73300 | 55% | 32985 | 32985
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
5 | EXTENDED ROTARY HANDLE FOR 630A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4P FOR 630A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 40% | 4074 | 4074
1 | 320A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 55% | 23265 | 23265
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
5 | EXTENDED ROTARY HANDLE FOR 4P 315A MCCB | L&T | 1 | NOS | 4680 | 53% | 2199.6 | 2199.6
6 | 1 SET OF SPREADER 4P FOR 4P 315A MCCB | L&T | 1 | NOS | 6310 | 53% | 2965.7 | 2965.7
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 40% | 4074 | 4074
1 | 630A 4P 36 KA MCCB | L&T | 1 | NOS | 73300 | 55% | 32985 | 32985
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
5 | EXTENDED ROTARY HANDLE FOR 630A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4P FOR 630A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 40% | 4074 | 4074
1 | 250A 4P 36 KA MCCB | L&T | 1 | NOS | 40900 | 55% | 18405 | 18405
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
5 | EXTENDED ROTARY HANDLE FOR FP 250A MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 4P SPREADER PH BARRIERS FOR FP 250A MCCB | L&T | 1 | NOS | 6310 | 55% | 2839.5 | 2839.5
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 40% | 4074 | 4074
1 | 250A 4P 36 KA MCCB | L&T | 1 | NOS | 40900 | 55% | 18405 | 18405
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
5 | EXTENDED ROTARY HANDLE FOR FP 250A MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 4P SPREADER PH BARRIERS FOR FP 250A MCCB | L&T | 1 | NOS | 6310 | 55% | 2839.5 | 2839.5
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 40% | 4074 | 4074
1 | 400A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 55% | 23265 | 23265
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
5 | EXTENDED ROTARY HANDLE FOR 400A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4P FOR 400A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 40% | 4074 | 4074
1 | 450A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 55% | 23265 | 23265
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
5 | EXTENDED ROTARY HANDLE FOR 450A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4PFOR 450A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 40% | 4074 | 4074
1 | 400A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 55% | 23265 | 23265
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
5 | EXTENDED ROTARY HANDLE FOR 400A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4P FOR 400A FP MCCB | L&T | 1 | NOS | 6410 | 55% | 2884.5 | 2884.5
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 40% | 4074 | 4074
1 | 500A 4P 36 KA MCCB | L&T | 1 | NOS | 70500 | 55% | 31725 | 31725
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
5 | EXTENDED ROTARY HANDLE FOR 500A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4P FOR 500A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 40% | 4074 | 4074
1 | 630A 4P 36 KA MCCB | L&T | 1 | NOS | 73300 | 55% | 32985 | 32985
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
5 | EXTENDED ROTARY HANDLE FOR 630A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER 4P FOR 630A FP MCCB | L&T | 1 | NOS | 13300 | 55% | 5985 | 5985
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 40% | 4074 | 4074
1 | 315A 4P 36 KA MCCB | L&T | 1 | NOS | 51700 | 55% | 23265 | 23265
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
5 | EXTENDED ROTARY HANDLE FOR 315A FP MCCB | L&T | 1 | NOS | 4760 | 55% | 2142 | 2142
6 | 1 SET OF SPREADER FOR 315A FP MCCB | L&T | 1 | NOS | 6410 | 55% | 2884.5 | 2884.5
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 40% | 4074 | 4074
1 | 160A 4P 36 KA MCCB | L&T | 1 | NOS | 37600 | 55% | 16920 | 16920
3 | CONTROL 6A SP MCB | L&T | 4 | NOS | 318 | 68% | 101.76 | 407.04
5 | EXTENDED ROTARY HANDLE FOR 160A 4P MCCB | L&T | 1 | NOS | 2790 | 55% | 1255.5 | 1255.5
6 | 4P SPREADER PH BARRIERS FOR 160A 4P MCCB | L&T | 1 | NOS | 6310 | 55% | 2839.5 | 2839.5
7 | AUX. CONTACT (1C/O+1TAC) | L&T | 1 | NOS | 1200 | 40% | 720 | 720
8 | DIGITAL MFM CL.-1 (4405 SERIES) | L&T | 1 | NOS | 6790 | 40% | 4074 | 4074
1 | SPARE VACANT SPACE FOR 400 AMP, 4P, MCCB VACCANT ONLY | L&T | 2 | NOS | 0 | 60% | 0 | 0
2 | 160A 4P 36 KA MCCB | L&T | 2 | NOS | 37600 | 55% | 16920 | 33840
3 | EXTENDED ROTARY HANDLE FOR 160A 4P MCCB | L&T | 2 | NOS | 2790 | 55% | 1255.5 | 2511
4 | 4P SPREADER PH BARRIERS FOR 160A 4P MCCB | L&T | 2 | NOS | 6310 | 55% | 2839.5 | 5679
753056.81
1 | COPPER BUSBARS | NALCO |  |  | 0 | 0% | 0 | 600000
2 | MISC. |  | 1 |  | 0 | 0% | 0 | 15000
3 | LUG,WIRE, HARDWERE | POLYCAB | 1 |  | 0 | 0% | 0 | 25000
4 | FABRICATION | CRCA SHEET | 1 |  | 0 | 0% | 0 | 136000 | 250000
5 | LABOUR & TRANSPORT |  | 1 |  | 0 | 0% | 0 | 239050
0
[7 empty] | NET RATE | 1015050
[7 empty] | ADD 20% | 203010
1218060